## General
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
experiment_title | None | Title of the experiment | NXentry:experiment_title | NX_CHAR | x
experiment_location | None | City and country where ex. Took place | NXentry:experiment_location | NX_CHAR | x
experiment_geotag | Degrees | Geographical coordinates of the place. Necessary when converting data with naïve dates. | NXentry:experiment_geotag | NX_FLOAT:NX_ANGLE | x
experiment_start_date | None | Start date and time of ex. in ISO 8601 format, ideally including UTC offset. | NXentry:experiment_start_date | NX _DATE_TIME | x
experiment_start_date_timestamp | Seconds | Machine readable, absolute timestamp using UNIX epoch. | NXentry:experiment_start_date_timestamp | NX_ FLOAT:NX_TIME | x
experiment_end_date | None | Start date and time of ex. in ISO 8601 format, ideally including UTC offset. | NXentry:experiment_end_date | NX_DATE_TIME | x
experiment_end_date_timestamp | Seconds | Machine readable, absolute timestamp using UNIX epoch. | NXentry:experiment_start_date_timestamp | NX_FLOAT:NX_TIME | x
experiment_summary | None | Descriptive summary of ex. | NXentry:experiment_description | NX_CHAR | x
NXentry:experiment_documentation
experiment_identifier | None | Unique identifier for the experiment. | NXentry:experiment_identifier | NX_CHAR | x
experiment_run_cycle | None | Some facilities organize their beamtime into run cycles. | NXentry:run_cycle | NX_CHAR | x
experiment_institution | None | Name of the institution hosting the facility | NXentry:experiment_institution | NX_CHAR | x
experiment_facility | None | Name of the experimental facility | NXentry:experiment_facility | NX_CHAR | x
experiment_laboratory | None | Name of the laboratory or beamline | NXentry:experiment_laboratory | NX_CHAR | x

## Specific
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
entry_title | None | Title of the entry, referring to a specific measurement. | NXentry:entry_title | NX_CHAR | v
entry_identifier | None | Identifier of the measurement | NXentry:entry_identifier | NX_CHAR | x
entry_start_time | Date | Start date and time of ex. in ISO 8601 format, ideally including UTC offset. | NXentry:entry_start_time | NX_DATE_TIME | v
entry_start_date_timestamp | Seconds | Machine readable, absolute timestamp using UNIX epoch. | NXentry:entry_start_date_timestamp | NX_FLOAT:NX_TIME | x
entry_end_time | Date | Ending date of the measurement | NXentry:entry_end_time | NX_DATE_TIME | x
entry_end_date_timestamp | Seconds | Machine readable, absolute timestamp using UNIX epoch. | NXentry:entry_end_date_timestamp | NX_FLOAT:NX_TIME | x
entry_duration | s | Duration of the measurement | NXentry:entry_duration | NX_FLOAT:NX_TIME | x
collection_time | s | Time spent actually collecting data | NXentry:collection_time | NX_FLOAT:NX_TIME | x
definition | None | Does the file correspond to a standardized structure? | NXentry:definition | NX_CHAR | v

## User
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
name | none | Name of user responsible for this entry | NXentry:NXuser:name | NX_CHAR | x
role | none | Role of user (local contact, principal investigator, etc.) | NXentry:NXuser:role | NX_CHAR | x
affiliation | none | Affiliation of user | NXentry:NXuser:affiliation | NX_CHAR | x
address | none | Address of user | NXentry:NXuser:address | NX_CHAR | x
telephone_number | none | Telephone number of user | NXentry:NXuser:telephone_number | NX_CHAR | x
email | none | E-mail address of user | NXentry:NXuser:email | NX_CHAR | x
facility_user_id | none | User identifier defined by the facility | NXentry:NXuser:facility_user_id | NX_CHAR | x

## Instrumentation
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
instrument_name | None | Name or model of the equipment | NXentry:NXinstrument:name | NX_CHAR | x
attribute:@short_name (acronym)
instrument_temporal_resolution | fs | Overall time resolution (FWHM of cross correlation) | NXentry:NXinstrument:temporal_resolution | NX_FLOAT:NX_TIME | x
instrument_energy_resolution | eV | Overall energy resolution (FWHM of gaussian broadening) | NXentry:NXinstrument:energy_resolution | NX_FLOAT:NX_ENERGY | x
instrument_spatial_resolution | um | Overall spatial resolution (Airy disk radius) | NXentry:NXinstrument:spatial_resolution | NX_FLOAT:NX_LENGTH | x
instrument_description | None | Short description of the instrument, possibly reference to a technical publication | NXentry:NXinstrument:description | NX_CHAR | x

## Source
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
name | None | Name of the source | NXentry:NXinstrument:NXsource:name (@short_name) | NX_CHAR | v
type | None | Type of radiation source | NXentry:NXinstrument:NXsource:type[1] | NX_CHAR | v
probe | None | Type of radiation used as probe | NXentry:NXinstrument:NXsource:probe[2] | NX_CHAR | v
photon_energy | eV | The center photon energy of the source, before it is monochromatized or converted | NXentry:NXinstrument:NXsource:photon_energy | NX_FLOAT:NX_ENERGY | x
center_wavelength | nm | The center wavelength of the source, before it is monochromatized or converted | NXentry:NXinstrument:NXsource:center_wavelength | NX_FLOAT:NX_WAVELENGTH | X
pulse_energy | uJ | For pulsed sources, the energy of a single pulse | NXentry:NXinstrument:NXsource:pulse_energy | NX_FLOAT:NX_ENERGY | x
peak_power | W | For pulsed sources, the pulse energy divided by the pulse duration | NXentry:NXinstrument:NXsource:peak_power | NX_FLOAT:NX_POWER | x
average_power | W | Source power | NXentry:NXinstrument:NXsource:average_power | NX_FLOAT:NX_POWER | x
emittance_x | nm-rad | Horizontal emittance | NXentry:NXinstrument:NXsource:emittance_x | NX_FLOAT:NX_EMITTANCE | x
emittance_y | nm-rad | Vertical emittance | NXentry:NXinstrument:NXsource:emittance_y | NX_FLOAT:NX_ EMITTANCE | x
size_x | um | horizontal beam size | NXentry:NXinstrument:NXsource:sigma_x | NX_FLOAT:NX_LENGTH | x
size_y | um | vertical beam size | NXentry:NXinstrument:NXsource:sigma_y | NX_FLOAT:NX_LENGTH | x
flux | s-1cm-2 | Photon flux of the source | NXentry:NXinstrument:NXsource:flux | NX_FLOAT:NX_FLUX | x
energy | J | Particle beam energy/excitation voltage | NXentry:NXinstrument:NXsource:energy | NX_FLOAT:NX_ENERGY | x
current | A | Storage ring current/X-ray tube current | NXentry:NXinstrument:NXsource:current | NX_FLOAT:NX_CURRENT | x
repetition_rate | Hz | Pulsed source frequency (repetition rate) | NXentry:NXinstrument:NXsource:frequency | NX_FLOAT:NX_FREQUENCY | x
pulse_duration | ps | Duration of the source pulses | NXentry:NXinstrument:NXsource:pulse_width | NX_FLOAT:NX_TIME | x
spectrum | nm-1 or eV-1 | Energy/wavelength spectrum of the source | NXentry:NXinstrument:NXsource:distribution | NX_FLOAT:NXdata | x
number_of_bunches | None | Number of bunches in the storage ring | NXentry:NXinstrument:NXsource:number_of_bunches | NX_INT | x
bunch_length | ps | Temporal length of the bunch | NXentry:NXinstrument:NXsource:bunch_length | NX_FLOAT:NX_TIME | x
bunch_distance | ns | Time between bunches | NXentry:NXinstrument:NXsource:bunch_distance | NX_FLOAT:NX_TIME | x
mode | None | Source operating mode (single or multi bunch) | NXentry:NXinstrument:NXsource:mode | NX_CHAR | x
top_up | Bool | Is the storage ring in top up? | NXentry:NXinstrument:NXsource:top_up | NX_BOOLEAN | x
bunch_structure | s-1 | Description of the bunch pattern | NXentry:NXinstrument:NXsource:bunch_pattern | NX_FLOAT:NXdata | x
rms_jitter | fs | For pump-probe experiments, the synchronization error between pump and probe. | NXentry:NXinstrument:NXsource:rms_jitter | NX_FLOAT:NX_TIME | x
bunch_number_start | None | Some facilities tag each bunch. First bunch of the measurement | NXentry:NXinstrument:NXsource:bunch_number_start | NX_INT | x
bunch_number_end | None | Last bunch of the measurement | NXentry:NXinstrument:NXsource:bunch_number_end | NX_INT | x

## Beam
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
distance | cm | Distance from the sample | NXentry:NXinstrument:NXbeam:distance | NX_FLOAT:NX_LENGTH | x
pulse_energy | uJ | Energy of a single pulse at the sample | NXentry:NXinstrument:NXbeam:pulse_energy | NX_FLOAT:NX_ENERGY | x
average_power | W | Average power at the sample | NXentry:NXinstrument:NXbeam:average_power | NX_FLOAT:NX_POWER | x
photon_energy | eV | The center photon energy at sample | NXentry:NXinstrument:NXbeam:photon_energy | NX_FLOAT:NX_ENERGY | x
polarization_angle | Deg | Angle of polarization ellipse from the plane of incidence. NaN for circular. | NXentry:NXinstrument:NXbeam:polarization_angle | NX_FLOAT:NX_ANGLE | x
polarization_ellipticity | None | Ellipticity of polarization, [-1,1]. | NXentry:NXinstrument:NXbeam:polarization_ellipticity | NX_FLOAT | x
size_x | um | horizontal beam size | NXentry:NXinstrument:NXbeam:size_x | NX_FLOAT:NX_LENGTH | x
size_y | um | vertical beam size | NXentry:NXinstrument:NXbeam:size_y | NX_FLOAT:NX_LENGTH | x
fluence | mJ cm-2 | Incident fluence at the sample | NXentry:NXinstrument:NXbeam:fluence | NX_FLOAT:NX_ANY | x
pulse_duration | ps | Duration of the pulses at the sample | NXentry:NXinstrument:NXbeam:pulse_duration | NX_FLOAT:NX_TIME | x
chirp_spectrum | fs-1 | Spectrum of pulse frequency vs time. | NXentry:NXinstrument:NXbeam:chirp_spectrum | NX_FLOAT:NX_Data | x
chirp_type | none | The type of chirp implemented | NXentry:NXinstrument:NXbeam:chirp_type | NX_CHAR | x
chirp_GDD | fs2 | Group delay dispersion of the pulse for linear chirp | NXentry:NXinstrument:NXbeam:chirp_GDD | NX_FLOAT:NX_TIME | x

## Monochromator
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
energy | eV | Central energy | NXentry:NXinstrument:NXmonochromator:energy | NX_FLOAT:NX_ENERGY | v
energy_error | eV | Energy standard deviation | NXentry:NXinstrument:NXmonochromator:energy_error | NX_CHAR | x
distribution | data | Spectrum or live diagnostic | NXentry:NXinstrument:NXmonochromator:distribution | NXdata | x

## Manipulator
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
name | None | Name | NXentry:NXinstrument:NXpositioner:name | NX_CHAR | x
description | None | Description | NXentry:NXinstrument:NXpositioner:description | NX_CHAR | x
type | None | Type of manipulator: “Hexapod”, “Rod”, etc. | NXentry:NXinstrument:NXpositioner:type | NX_CHAR | x
pos_x | um | Position in the x direction | NXentry:NXinstrument:NXpositioner:pos_x | NX_FLOAT:NX_LENGTH | x
pos_y | um | Position in the y direction | NXentry:NXinstrument:NXpositioner:pos_y | NX_FLOAT:NX_LENGTH | x
pos_z | um | Position in the z direction | NXentry:NXinstrument:NXpositioner:pos_z | NX_FLOAT:NX_LENGTH | x
pos_azimuth | deg | Angular position in the azimuthal direction | NXentry:NXinstrument:NXpositioner:pos_azimuth | NX_FLOAT:NX_ANGLE | x
pos_tilt | deg | Angular position in the tilt direction | NXentry:NXinstrument:NXpositioner:pos_tilt | NX_FLOAT:NX_ ANGLE | x
pos_polar | deg | Angular position in the polar direction | NXentry:NXinstrument:NXpositioner:pos_polar | NX_FLOAT:NX_ ANGLE | x
cryocoolant | bool | Is cryocoolant flowing through the manipulator? | NXentry:NXinstrument:NXpositioner:pos_polar | NX_BOOL | x
cryostat_temperature | K | Temperature of the cryostat (coldest point) | NXentry:NXinstrument:NXpositioner:cryostat_temperature | NX_FLOAT:NX_TEMPERATURE | x
heater_power | W | Power in the heater for temperature control. | NXentry:NXinstrument:NXpositioner:heater_power | NX_FLOAT:NX_POWER | x
sample_temperature | K | Temperature at the closest point to the sample | NXentry:NXinstrument:NXpositioner:sample_temperature | NX_FLOAT:NX_TEMPERATURE | x
drain_current | pA | Current to neutralize the photoemission current | NXentry:NXinstrument:NXpositioner:drain_current | NX_FLOAT:NX_CURRENT | x
sample_bias | V | Possible bias of the sample with trespect to analyser ground | NXentry:NXinstrument:NXpositioner:sample_bias | NX_FLOAT:NX_CURRENT | x

## Collection
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
extractor_voltage | V | Voltage applied to the extractor lens | NXentry:NXinstrument:NXdetector:extractor_voltage | NX_FLOAT:NX_VOLTAGE | x
extractor_current | A | Indicating leakage, field emission or arc currents to the extractor lens | NXentry:NXinstrument:NXdetector:extractor_current | NX_FLOAT:NX_CURRENT | x
working_distance | mm | Distance between sample and detector entrance | NXentry:NXinstrument:NXdetector:working_distance | NX_FLOAT:NX_LENGTH | x
lens_mode | None | Labelling of a standard lens setting | NXentry:NXinstrument:NXdetector:lens_mode | NX_CHAR | v
lens_names | None | Set of names of electron optic lenses | NXentry:NXinstrument:NXdetector:lens_names | NX_CHAR | x
lens_voltages | V | Array of corresponding voltages | NXentry:NXinstrument:NXdetector:lens_voltages | NX_FLOAT:NX_VOLTAGE | x
projection | None | The space projected in the angularly dispersive directions: “real” or “reciprocal” | NXentry:NXinstrument:NXdetector:projection | NX_CHAR | x
magnification | None | The magnification of the projected image in the angularly dispersive direction | NXentry:NXinstrument:NXdetector:magnification | NX_FLOAT:NX_DIMENSIONLESS | x
field_aperture | um | The size of the field aperture inserted in the column | NXentry:NXinstrument:NXdetector:field_aperture | NX_FLOAT:NX_LENGTH | x
field_aperture_x | mm | Horizontal position of field aperture | NXentry:NXinstrument:NXdetector:field_aperture_x | NX_FLOAT:NX_LENGTH | x
field_aperture_y | mm | Vertical position of field aperture | NXentry:NXinstrument:NXdetector:field_aperture_y | NX_FLOAT:NX_LENGTH | x
contrast aperture | um | Size of contrast aperture inserted in the column | NXentry:NXinstrument:NXdetector:contrast_aperture | NX_FLOAT:NX_LENGTH | x
contrast_aperture_x | mm | Horizontal position of contrast aperture | NXentry:NXinstrument:NXdetector:contrast_aperture_x | NX_FLOAT:NX_LENGTH | x
contrast_aperture_y | mm | Vertical position of contrast aperture | NXentry:NXinstrument:NXdetector:contrast_aperture_y | NX_FLOAT:NX_LENGTH | x

## Energy
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
dispersion_scheme | None | “tof”, “hemispherical”, “cylindrical”, “mirror”, “retarding grid”, etc. | NXentry:NXinstrument:NXdetector:dispersion_scheme | NX_CHAR | x
pass_energy | eV | Pass energy in dispersive electrodes | NXentry:NXinstrument:NXdetector:pass_energy | NX_FLOAT:NX_ENERGY | v
center_energy | eV | Center of the energy window | NXentry:NXinstrument:NXdetector:center_energy | NX_FLOAT:NX_ENERGY | x
entrance_slits_size | um | Size of the entrance slits in dispersive analyzers | NXentry:NXinstrument:NXdetector:entrance_slit_size | NX_FLOAT:NX_LENGTH | v
entrance_slits_shape | none | “straight” or “curved” | NXentry:NXinstrument:NXdetector:entrance_slit_shape | NX_CHAR | v
exit_slits_size | um | Size of the exit slits in dispersive analyzer | NXentry:NXinstrument:NXdetector:exit_slit_size | NX_FLOAT:NX_LENGTH | x
exit_slits_shape | None | Shape of the exit slits | NXentry:NXinstrument:NXdetector:exit_slit_shape | NX_CHAR | x
diameter | mm | Diameter of the dispersive orbit | NXentry:NXinstrument:NXdetector:diameter[1] | NX_FLOAT:NX_LENGTH | x
energy_scan_mode | None | “fixed” or “sweep” | NXentry:NXinstrument:NXdetector:acquisition_mode | NX_CHAR | v
tof_distance | mm | Length of the tof drift electrode | NXentry:NXinstrument:NXdetector:tof_distance | NX_FLOAT:NX_LENGTH | x
tof_voltage* | V | Voltage of the drift electrode | NXentry:NXinstrument:NXdetector:tof_voltage | NX_FLOAT:NX_VOLTAGE | x

## Spin
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
spin_filter_type | None | Type of spin detector: “VLEED”, “SPLEED”, “Mott”, etc. | NXentry:NXinstrument:NXdetector:spin_filter_type | NX_CHAR | x
spin_FoM | None | Figure of merit of the spin detector | NXentry:NXinstrument:NXdetector:spin_filter_FoM | NX_FLOAT | x
spin_shermann_function | None | Effective Shermann function: calibrated spin selectivity factor | NXentry:NXinstrument:NXdetector:spin_filter_shermann_function | NX_FLOAT | x
spin_scattering_energy | eV | Energy of the spin-selective scattering | NXentry:NXinstrument:NXdetector:spin_scattering_energy | NX_FLOAT:NX_ENERGY | x
spin_scattering_angle | deg | Angle of the spin-selective scattering | NXentry:NXinstrument:NXdetector:spin_scattering_angle | NX_FLOAT:NX_ANGLE | x
spin_target | None | Name of the target | NXentry:NXinstrument:NXdetector:spin_target | NX_CHAR | x
spin_target_preparation | None | Preparation procedure of the spin target | NXentry:NXinstrument:NXdetector:spin_target_preparation | NX_CHAR | x
spin_target_preparation_date | None | Date of last preparation of the spin target | NXentry:NXinstrument:NXdetector:spin_target_preparation_date | NX_DATETIME | x
spin_target_preparation_timestamp | s | Unix timestamp | NXentry:NXinstrument:NXdetector:spin_target_preparation_date_timestamp | NX_FLOAT | x

## Detection
Name | Unit | Description | Nexus hierarchy | NXvariable | NXarpes
amplifier_type | None | Type of electron amplifier: “MCP”, “channeltron”, etc. | NXentry:NXinstrument:NXdetector:amplifier_type | NX_CHAR | x
detector_type | None | Description of the detector type: “DLD”, “Phosphor+CCD”, “CMOS”. | NXentry:NXinstrument:NXdetector:detector_type | NX_CHAR | x
detector_voltage | V | Voltage applied to detector. | NXentry:NXinstrument:NXdetector:detector_voltage | NX_FLOAT:NX_VOLTAGE | x
sensor_size | mm | Size of each imaging sensor chip on the detector. | NXentry:NXinstrument:NXdetector:sensor_size | NX_FLOAT:NX_LENGTH | x
sensor_count | Unitless | Number of imaging sensor chips on the detector. | NXentry:NXinstrument:NXdetector:sensor_count | NX_INT:NX_UNITLESS | x
sensor_pixel_size | um | Physical size of the pixels of the imaging chip on the detector. | NXentry:NXinstrument:NXdetector:sensor_pixel_size | NX_FLOAT:NX_LENGTH | x

## Sample
Name | Unit | Description | Nexus hierarchy | NXvariable | NXarpes
name | None | Simple and descriptive name of the sample | NXentry:NXsample:name | NX_CHAR | v
sample_id | None | Identification number or signatures of the sample used. | NXentry:NXsample:sample_id | NX_CHAR | x
state | None | Physical state of the sample[1] | NXentry:NXsample: state | NX_CHAR | x
purity | None | Chemical purity of the sample | NXentry:NXsample: purity | NX_FLOAT:NX_UNITLESS | x
surface_orientation | None | Surface termination of the sample (if crystalline) | NXentry:NXsample: orientation | NX_CHAR | x
layer | None | Number of layers of the sample (e.g. “bulk”, “monolayer”, “pentalayer”, etc.) | NXentry:NXsample: layer | NX_CHAR | x
sample_space_group | None | Space group of the sample (if crystalline) | NXentry:NXsample: space_group | NX_CHAR | x
chemical_formula | None | Chemical formula of the sample | NXentry:NXsample: chemical_formula | NX_CHAR | x
chemical_name | None | Full chemical name of the sample | NXentry:NXsample: chemical_name | NX_CHAR | x
chem_id_cas | None | CAS registry number of the sample’s chemical content. | NXentry:NXsample: chem_id_cas | NX_CHAR | x
temperature | K | Temperature of the sample during the measurement. | NXentry:NXinstrument:NXpositioner:sample_temperature | NX_FLOAT:NX_TEMPERATURE | x
drain_current | pA | Current to neutralize the photoemission current | NXentry:NXinstrument:NXpositioner:drain_current | NX_FLOAT:NX_CURRENT | x
sample_bias | V | Possible bias of the sample with trespect to analyser ground | NXentry:NXinstrument:NXpositioner:sample_bias | NX_FLOAT:NX_CURRENT | x
pressure | Pa | Pressure of gas surrounding the sample at time of measurement. | NXentry:NXsample: pressure | NX_FLOAT:NX_PRESSURE | x
gas | None | Gases might be fluxed on the surface for various reasons. Chemical designation, or “residual”. | NXentry:NXsample: gas | NX_CHAR | x
E_field | V | Electric field applied across the sample. Different from sample_bias. | NXentry:NXsample:electric_field | NX_FLOAT:NX_VOLTAGE | x
@direction
B_field | T | Magnetic field applied to the sample during the measurement. | NXentry:NXsample:emagnetic_field | NX_FLOAT:NX_ANY | x
@direction
stress_field | Pa | Stress field applied to the sample during the measurement. | NXentry:NXsample:stress_field | NX_FLOAT:NX_PRESSURE | x
@direction
thickness | Å | Sample thickness | NXentry:NXsample:thickness | NX_FLOAT:NX_LENGTH | x
surface_dopant | None | Element of evaporated surface dopant such as alkali or other | NXentry:NXsample:surface_dopant | NX_CHAR | x
surface_dopant_coverage | Å | Nominal thickness of the evaporated dopant | NXentry:NXsample:surface_dopant_coverage | NX_FLOAT:NX_LENGTH | x
bias* | V | Voltage applied to sample and sample holder. | NXentry:NXsample:bias | NX_CHAR | x
drain_current | A | Drain current due to photoemission | NXentry:NXsample:drain_current | NX_FLOAT:NX_CURRENT | x
growth_method | None | Sample growth method (e. g. molecular beam epitaxy, chemical vapor deposition etc.) | NXentry:NXsample:growth_method | NX_FLOAT:NX_CURRENT | x
preparation_method | None | E.g. “UHV cleave”, “sputtering and annealing”, etc. | NXentry:NXsample:preparation_method | NX_FLOAT:NX_CURRENT | x
preparation_date | Date | Date of sample preparation | NXentry:NXsample:preparation_date | NX_DATE_TIME | x
preparation_date_timestamp | s | UNIX timestamp of sample preparation | NXentry:NXsample:preparation_date_timestamp | NX_FLOAT:NX_TIME | x
vendor | None | Name of the sample vendor (company or research group) | NXentry:NXsample:vendor | NX_CHAR | x
substrate_material | None | Material of the substrate in direct contact with the sample. | NXentry:NXsample:substrate_material | NX_CHAR | x
substrate_state | None | Physical state of the substrate, similar options to sample_state | NXentry:NXsample:substrate_state | NX_CHAR | x
substrate_vendor | None | Vendor of the substrate material | NXentry:NXsample:substrate_material | NX_CHAR | x
sample_notes | None | Further notes. | NXentry:NXsample:notes | NX_CHAR | x

## Processing
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
program_name | None | Name of the processing program or script | NXentry:NXprocess:program_name | NX_CHAR | x
program_version | None | Version of the program or script | NXentry:NXprocess:program_version | NX_CHAR | x
program_codebase | None | Set of libraries/tools used in the program/script | NXentry:NXprocess:program_codebase | NX_CHAR | x
program_sequence | None | Sequence of transformations applied to the data, as some are non-commutative | NXentry:NXprocess:program_sequence | NX_CHAR | x
calculated_kx | Å-1 | calibrated kx momentum axis | NXentry:NXprocess:calculated_kx | NX_FLOAT:NX_WAVENUMBER | x
calculated_ky | Å-1 | calibrated ky momentum axis | NXentry:NXprocess:calculated_ky | NX_FLOAT:NX_WAVENUMBER | x
calculated_energy | eV | Calibrated energy axis | NXentry:NXprocess:calculated_energy | NX_FLOAT:NX_ENERGY | x
calculated_delay | fs | Calibrated Delay stage position | NXentry:NXprocess:calculated_delay | NX_FLOAT:NX_TIME | x
calculated_x_to_kx | Å-1 | Pixel x axis to kx momentum calibration | NXentry:NXprocess:calculated_x_to_kx | NX_DATA | x
calculated_y_to_ky | Å-1 | Pixel y axis to ky momentum calibration | NXentry:NXprocess:calculated_x_to_ky | NX_DATA | x
calculated_tof_to_energy | eV | Time_of_flight to energy calibration | NXentry:NXprocess:calculated_tof_to_energy | NX_DATA | x
calculated_stage_to_delay | fs | Delay stage calibration | NXentry:NXprocess:calculated_stage_to_delay | NX_DATA | x
other_converts | None | Conversion factors between other measured and physical axes. | NXentry:NXinstrument:NXdetector:other_converts | NX_DATA | x

## Distortion
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
applied | Bool | Has the distortion correction been applied? | NXentry:NXprocess:NXdistortion:applied | NX_BOOL | x
symmetry | None | Number of elementary symmetry operations. | NXentry:NXprocess:NXdistortion:symmetry | NX_INT | x
symmetry_angle | deg | Degrees of rotation for a symmetry operation. | NXentry:NXprocess:NXdistortion:symmetry_angle | NX_FLOAT:NX_INT | x
original_centre | None | Coordinates of the symmetry centre point. | NXentry:NXprocess:NXdistortion:original_centre | NX_FLOAT | x
original_points | None | Coordinates of the relevant symmetry points. | NXentry:NXprocess:NXdistortion:original_points | NX_FLOAT | x
Field | None | 2D matrix mapping the original distorted field in the undistorted one. | NXentry:NXprocess:NXdistortion:field | NX_FLOAT | x

## Registration
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
applied | Bool | Has the registration been applied? | NXentry:NXprocess:NXregistration:applied | NX_BOOL | x
x_translation | None | Horizontal translation | NXentry:NXprocess:NXregistration:x_translation | NX_FLOAT | x
y_translation | None | Vertical translation | NXentry:NXprocess:NXregistration:y_translation | NX_FLOAT | x
new_centre | None | Coordinates of the new symmetry centre point. | NXentry:NXprocess:NXregistration:new_centre | NX_FLOAT | x
rotation_centre | None | Coordinates of the rotation centre. | NXentry:NXprocess:NXregistration:rotation_centre | NX_FLOAT | x
rotation_angle | Deg | Angle of rotation | NXentry:NXprocess:NXregistration:rotation_angle | NX_FLOAT:NX_ANGLE | x
scaling | None | Scaling factor to compensate shrinking from distortion correction. | NXentry:NXprocess:NXregistration:scaling | NX_FLOAT | x

## Calibration
Name | Unit | Description | Nexus hierarchy | NX variable | NXarpes
applied | Bool | Has the calibration been applied? | NXentry:NXprocess:NXcalibration:applied | NX_BOOL | x
coefficients | None | Array of coefficients of the calibration function for non linear calibration | NXentry:NXprocess:NXcalibration:coefficients | NX_FLOAT | x
features | Not specified | Array of position of features along the axis to be calibrated | NXentry:NXprocess:NXcalibration:features | NX_FLOAT | x
destinations | Not specified | Array of destinations in the calibrated axis | NXentry:NXprocess:NXcalibration:destinations | NX_FLOAT | x
files | None | Files used for the calibration | NXentry:NXprocess:NXcalibration:files | NX_CHAR | x
scaling | Not specified | Scaling parameter for linear calibration | NXentry:NXprocess:NXcalibration:scaling | NX_FLOAT | x
offset | Not specified | Offset parameter for linear calibration | NXentry:NXprocess:NXcalibration:offset | NX_FLOAT | x